## Introduction

In science, the goal is truthful understanding of our world based on careful observations and measurements of natural phenomena.  To build our understanding, we struggle to develop conceptual models.  These models (theories) must be tested and/or validated to really be worthwhile.  Often, observations and/or experimental results cause us to realize the limitations of our models (theories) and so we must work to develop better (or, at least, more complete) ones.  To see if our models are valid, we must carefully compare their predictions to what is actually seen in nature.

Imprecise or sloppy comparisons of our theoretical models with nature do not improve anyone’s understanding of either and, in fact, often just lead to greater confusion.  Consequently, true understanding will ONLY come from extreme care with each and every measurement and theoretical calculation.  So, in this spirit, a healthy self-critical approach and skepticism about the accuracy of any result should be developed and nurtured.

# To this end, we should endeavor to make each and every measured value as accurate and precise as possible.  We must work to minimize the error or uncertainty of each and every measurement.  To be specific about expressing these qualities of a quantitative measurement, we use the rules for so-called significant figures.  These and other related terms are defined as follows:

Significant Figures: the number of digits that are known (or specifically given) for a value.  This may differ from the total number of digits actually used in writing out the value.  A standard set of rules determines the actual number of significant figures (SF) used in an expression of a value (see below).

Measurement Accuracy: how close a measured value is to the true value (if it is known).  If the true value is not known, then the accuracy of measurement can only be estimated (typically, this must be done with extreme care).

Measurement Precision: an indication of the reliability and/or repeatability of a measurement, as reflected by the number of significant figures used to represent the measured value.

Measurement Uncertainty/Error: the estimated deviation of a measured value from the true value.  The true value may or may not be known.  There are three types (sources) of error: measurement mistakes, random errors, and systematic errors.

- Measurement mistakes are “illegitimate errors” since they are due to sloppiness and/or lack of care in the measurement process and are avoidable.  Mistakes errors should always be completely eliminated.

- Random errors result from (hopefully small) uncontrolled variability of the environment, equipment, and/or other subtle aspects of the measurement.  The individual measured values randomly deviate high or low of an average value.

- Systematic errors result in the consistent deviation of a measurement (on average, either high or low as compared to the true value) due to equipment problems or neglect (or ignorance) of some other important factor in the measurement process.

The following pages present a detailed discussion of measurement errors and the interpretation of measurements.   This discussion is organized into a set of sections:

- What is meant by an Uncertainty (or an error).

- Rules for working with Significant Figures.

- How to compute Percentage Error & Percentage Difference

- Ideas for Preparing a Scientific Table or Graph

- Rules for calculation of the Propagation of Errors, and

- Mean Value, Standard Deviation, and Standard Error:  A set of repeated measurements subject to random errors (normally distributed) can be treated statistically.  The mean value is the best approximation to the true value.  The precision of the measurement can be estimated by calculating the standard error from the standard deviation.

- The procedure for Fitting a Straight Line to Data (Linear Regression)

## Uncertainty

The best estimate of a measured value A is often given with an explicit uncertainty σA.  This means that one should realize and remember that the written value is likely to be wrong by a bit; our uncertainty in its value is related to σA.  So, in science and elsewhere, values are often written in the form A ± σA.  For example, an accurate measurement of the acceleration due to Earth’s gravity ‘g’ in our TCU physics lab location might turn out to be equal to 9.80 ± 0.01 m/s2.  What do these numbers really mean?  According to our statistical definitions of uncertainties, this value for ‘g’ has a 68% likelihood (chance) of being within ± 0.01 m/s2 of the true value.  Said another way, there is a 32% chance of the measurement being further than ± 0.01 m/s2 from the true value for g.  Also, from the same statistics, the measured value has only a 5 % chance of being off from the actual value by more than ± 0.02 m/s2 (± 2σ) and a much smaller 0.2 % chance of being wrong by more than ± 0.03 m/s2 (± 3σ).  Based on this information and the measured value, we can deduce that (at the location of our TCU lab)

- it is unlikely (a chance of about 1:20 or 5%) that the actual value of g is greater than 9.82 m/s2 or less than 9.78 m/s2, and

- it is very unlikely (a chance of about 1:500 or 0.2%) that the actual value of g is, for example, greater than 9.83 m/s2 or less than 9.77 m/s2.

Note that when a value is written in the form A ± σA, such as 9.80 ± 0.01 m/s2, that the value is rounded off to the same digit as determined by the uncertainty σA.  It is pretty meaningless, for example, to write such a value as 9.8013521 ± 0.01 m/s2, even if this resulted from a detailed experimental analysis.  Given the size of the uncertainty, the extra digits are pretty useless and the value should be rounded-off to the appropriate digit.  This kind of reasoning has led to a convention called “using significant figures”.

Significant Figures

When writing numbers down it is important to communicate the actual significance of the digits and numbers used.  If a fellow says “I have five hundred dollars” how many does he really have?  Did he round-off the number?  Perhaps he really has 499 and rounded up by one, or maybe he has 523 and he simply reported it to the nearest hundred.  To communicate concretely, we must avoid this ambiguity.  We need rules for explicitly and consistently reporting the significance of digits used to represent values.  The conventional rules for determining the number of significant figures (SF) in a quantity are as follows:

- The most significant digit is the leftmost nonzero digit.  Zeros at the left are never significant.  For example, the value 0.0023 has two SF (while it has 5 digits) – it could also be written as 2.3e-3, for example (still with 2 SF).

- If no decimal point is explicitly given, the rightmost nonzero digit is the least significant digit.  Ex.: the value 300 has one SF, while 3.00e2 has three SF and the value 300.0 has four SF.

- If a decimal point is explicitly given, the rightmost digit is the least significant digit, regardless of whether it is zero or nonzero.  See the above example.

- The number of SF is determined by counting significant digits from most significant to the least significant.

So, in the example in the previous section, the value of ‘g’ is determined and reported with three significant figures.  If the uncertainty was actually ± 0.1 m/s2 then it should be reported as 9.8 ± 0.1 m/s2, with only two significant figures.

## Significant Figures and Calculations

When adding, subtracting, multiplying or dividing values, it is necessary to pay attention to significant figures.  For example, if a value “2.1” (apparently precise to ± 0.1) is multiplied by “4.555” (apparently precise to ± 0.001) then the calculated number is equal to the value “9.5655”.  The actual number of significant figures is only two (due to the precision of the 2.1 value) so the result (if it is a final one) should be expressed as 9.6, after rounding off at the second significant figure.  This is easily understood by repeating the multiplication using 2.2 and/or 2.0 – the reasonable range of values given the implied precision of ± 0.1).  Similar reasoning can be applied to other calculations to determine their effect on the actual significant figures in the result, for example “100.0” added to “0.08” is written “100.1” due to significant figures and appropriate round-off.

### Percentage Error

If the true value of a quantity is known, the percentage error of a measurement is simply the difference between the measurement M and the true value T, divided by the true value, and then multiplied by 100%.  This can be written:   %Error = 100%(M–T)/T.

### Percentage Difference

Sometimes the difference between two measurements (or other values) is represented as a percentage difference.  This is typically done when the two values are similar to each other (they must have exactly the same units).  To calculate the percentage difference between values M1 and M2 you do a similar calculation as for percentage error, but instead you divide by the average of the two values.

This can be written:	%Difference = 200%(M1–M2)/(M1+M2).

Preparing a Scientific Table or Graph

Measurements can be displayed and represented in Tables or Graphs.  Tables are multi-dimensional lists that show the relationships between different sets of measurements.  For example, the location of a moving car might be represented by a table giving the time of the measurements and the measured X and Y coordinates.  To be meaningful, the units of each listed value must be included.  Suppose the car’s positional coordinates are measured at various times, to a precision of one meter and 0.01 second.  Here is the data shown in a Table:

| Time (seconds) | X coordinate (km) | Y coordinate (km) |
| --- | --- | --- |
| 0.00 | 2.351 | 0.144 |
| 23.50 | 2.880 | 0.040 |
| 55.21 | 3.235 | -0.055 |
| 73.56 | 3.511 | -0.147 |

Likewise, the same data can be displayed graphically:

Note how the axis scales are chosen and labeled.  The point of a graph is to communicate the values and the trends in the data.  So, every attempt should be made to ensure that the graph title, axis scales and labels give complete and accurate information.  In the above case, the data points are large to help them show up.  The values are known very accurately, more accurately than can be determined from the graph (compare with the accuracy shown in the Table).  In contrast, if the measurements were, in fact, only certain to within 0.25 km and 5 sec, then we should graphically display this measurement uncertainty as we show the data.  This is done with so-called graphical error-bars attached to the data points.  This is demonstrated as follows:

Mean Value, Standard Deviation, and Standard Error

If measurements were perfect, and so therefore perfectly exact, we would know a desired answer from a single measurement of a quantity.  Since measurements are not perfect, we work for improved accuracy by repeating the measurement process.  How can we obtain our best estimate of the desired value from a repeated set of measurements?  How can we determine our confidence (or our uncertainty) in our resulting estimate?

A measurement is repeated N times, resulting in a set (or list) of values Ai where the index “i” identifies each specific measurement (“i” taking values between 1 and N).  If the variations of the values in this set are entirely due to random errors, we may obtain an improved estimate of the true value by applying a simple and standard statistical treatment to summarize our results.  This treatment becomes increasingly meaningful for larger numbers of measurements.

For example, suppose a mass is measured five times and the following set of values is obtained: {9.15, 9.13, 8.96, 9.18, and 9.09 grams}.  Suppose each measurement was done in the same fashion and so we have no reason to suspect (or respect) any one value over the others.  To analyze this set of measurements (our “sample”) and to determine the precision of a resulting “best measurement value”, the mean value, sample standard deviation, and standard error may be calculated.

These quantities (and other related ones) are defined as follows:

- The Mean Value Ā is the average of the measured values.  The mean is calculated from the sum all Ai (from i = 1 to i = N) and then division of this sum by N.  Our above example of five mass measurements has a mean value of 9.102 g.  This is our best estimate of the correct “true value” of the mass we are measuring.

- The RMS Deviation is obtained by taking the square root of the mean of the squared deviations (hence, the RMS-deviation).  This is calculated in the following steps:

  - First, for each measured value a squared-deviation is calculated using the expression (Ai – Ā)2.  The set of these for our example is {0.002304, 0.000784, 0.020164, 0.006084, and 0.000144 grams2}.

  - Second, a sum-of-the-squared-deviations  Σ(Ai – Ā)2 is calculated and this sum is divided by N, the number of measurements (here, the symbol Σ means the sum of quantities for i =1 to N).  In our example the sum is 0.02948 g2 and after division by 5, we obtain a mean-squared-deviation of 0.005896 g2 (keeping extra digits to avoid round-off error).

  - Third, the rms-deviation is found from the square root of the previous result.  For our example, the sample standard deviation is approximately equal to 0.0768 grams (extra digits kept to avoid round-off error).

- The Standard Deviation σ is similar to the rms-deviation, except the ‘mean-squared-deviation’ is calculated by dividing the ‘sum-of-the-squared-deviations’ by the so-called “number of degrees of freedom” (DOF), instead of N.  Given this we can write a formula for the square of the Standard Deviation (the so-called “variance”):  σ2 = [Σ (Ai – Ā)2]/DOF.   For a set of N measurements of the same quantity (like our mass), the DOF is equal to N-1.  Consequently, for our example above, the Standard Deviation is approximately equal to 0.0858 grams (keeping extra digits to avoid round-off error).

- The Standard Error represents an estimate of our uncertainty for the measured mean value (as determined by the number of measurements and the variations in our set of values).   The Standard Error is an estimate of the standard deviation of the distribution of mean values expected if the same set of measurements was repeated many times. The Standard Error S is calculated by dividing the Sample Standard Deviation σ by the square root of the number of measurements N.  As a formula: S = σ /√N.   In our example, the standard error is 0.04 grams (generally, it is only necessary to keep one or perhaps two significant figures for the standard error).

- The Result of a Set of Measurements: The best estimate of the measured value (and its estimated uncertainty) is given by Ā ± S.  For our example, the result of our measurements is 9.10 ± 0.04 grams (note that mean value is rounded off to the same digit as the uncertainty).

## Propagation of Error

Final results should always reflect the appropriate precision.  So, final results (typically involving a calculated value based on measurements) should include appropriate estimates of uncertainty.  Of course, intermediate calculations should be done with extra digits (to avoid the accumulation of round-off errors).  So, how do we determine the uncertainty of a quantity that depends on several measured values?

Values calculated from several measured quantities will certainly inherit their uncertainties in a way that depends on the form of the calculation.  A few examples of how errors propagate (from the measurements to the result) are shown below for measured quantities X and Y (and a constant C that has little or no uncertainty):

| If A = CX, | then σA = CσX |
| --- | --- |
| If A = C+X | then σA = σX |
| If A = X+Y | then, (σA)2 = (σX)2 + (σY)2 |
| If A = XY, | then (σA)2 = Y2(σX)2 + X2(σY)2. |
| If A = X/Y, | then, (σA)2 = A2[(σX /X)2 + (σY /Y)2 ] |
| If A = XC, | then σA = AC(σX )/X. |

These formulae and those for other cases are derived from probability theory.  The above relations are valid for the propagation of errors (or in deviations or variances, as shown above).  The general rule for the propagation of error in a calculated quantity A that depends on measured quantities X, Y, and Z is given by the relationship

(σA)2 = (δA/δX)2(σX)2 + (δA/δY)2(σY)2 + (δA/δZ)2(σZ)2 ,

where δA/δX means “the partial derivative of the quantity A with respect to variable X” (from calculus).  If necessary, it is simple enough (if you know calculus) to verify and/or extend the above list of formulae [don’t worry about this if you have not had calculus].

## Obtaining a Linear Fit to Data (Linear Regression)

Often measurements are taken in pairs: by changing (and measuring) one variable X and then subsequently measuring a second variable Y.   A set of such data pairs helps to determine the relationship of the two variables (quantities).  In some cases, Y will depend on X with a linear relationship given by

Y = MX + B,

where M and B are constants.  In a plot of Y vs. X for a straight line, the constant M is the slope of the plotted line and B is the Y-intercept (the value of Y when X = 0).

Suppose we have a reason to think that some pair of quantities X and Y have a linear relationship.  To verify this relationship, a set of N measurements of these variables will produce a set of X and Y pairs which we may denote as (Xi, Yi).  These may be plotted on a graph and the trend of the data examined.  Statistical theory states that there is a best-fitting line to the data.  We may define the “best-fitting line” as the line that deviates as little as possible from the data.  Consequently, we need a way to define and calculate the “quality of the fit” of the line to the data.

“Quality-of-Fit” χ2

Various formal definitions (or approaches) exist for determining the best fitting line.  For the purposes of our course we will define a quantity χ2 (“chi-squared”) as the sum of the squared deviations, comparing the data to the line.  For a given choice of parameters M and B, this quantity is given by the following sum (over all data points, i = 1 to N):

χ2 = Σ [Yi – (MXi + B)]2.

The values of B and M that produce a minimum χ2 can be found (again from the use of calculus).  From such an analysis best-fitting values can be calculated from the following formuale:

B = (SxxSy - SxSxy) / Δ, and

M = (NSxy – SxSy) / Δ,

using the various quantities defined by:

Sx: the sum of all Xi values, written as ΣXi

Sy: the sum of all Yi values, written as ΣYi

Sxx: the sum of all (Xi)2 values, written as ΣXi2

Syy: the sum of all (Yi)2 values, written as ΣYi2

Sxy: the sum of all (Xi·Yi) values, written as ΣXiYi , and

Δ: the quantity [N(ΣXi2 )-(ΣXi)2].

The uncertainties for the slope and intercept can be obtained by evaluating the propagation of errors from the measured values (σXi and σYi) to the calculated slope and intercept (see the previous section on error propagation).   If the σYi errors dominate and all equal to a value σY, it turns out that the slope and intercept uncertainties are simply given by:

σB2  =  (Sxx / Δ)(σY)2

σM2  = (N / Δ)(σY)2

## SPEED TRAP Example

Here is a specific example:  Traffic police use speed measuring devices that measure the round-trip travel time for reflected pulses of radio-waves (RADAR) or infra-red light (LIDAR).  These devices actually measure the distance between the source and the reflector of the waves (the police device and the suspect car).  Suppose a car is moving with constant velocity down a road and its position is measured at five different times.  A graph of the measured position vs. measured time explicitly shows the motion of the car.  In such a graph, the slope a line fitted to the plotted data points is our best estimate of the car’s true velocity.  In this case, N = 5 and the car positions are Yi and the measured times are Xi, as listed in the following table (with their estimated uncertainties):

| Measurement | Time (Xi) | σXi | Position (Yi) | σYi |
| --- | --- | --- | --- | --- |
| 1 | 0.150 sec | 0.001 sec | 120 m | 2 m |
| 2 | 0.300 sec | 0.001 sec | 115 m | 2 m |
| 3 | 0.450 sec | 0.001 sec | 111 m | 2 m |
| 4 | 0.600 sec | 0.001 sec | 107 m | 2 m |
| 5 | 0.750 sec | 0.001 sec | 101 m | 2 m |

To determine if the car is speeding or traveling at a legal speed (less than or equal to 65 miles per hour = 29 m/s), the device must calculate an estimated value and uncertainty for the car’s speed.  Clearly, the dominant uncertainties are for the Y position values, so the linear regression method described above will be sufficient.

Using these measured values and the formulae given above we can obtain values (shown with extra digits – to avoid subsequent round-off errors):

Sx = 2.25 seconds.

Sy = 554 meters.

Sxx = 1.2375 sec2.

Syy = 61596 m2.

Sxy = 242.4 meters·seconds, and

Δ = 1.125 sec2.

So, by linear regression, the best values for the slope M and intercept B are:

B = (SxxSy - SxSxy) / Δ = 124.6 meters and

M = (NSxy – SxSy) / Δ = -30.667 m/sec,

with squared uncertainties:

σB2  =  (Sxx / Δ)(σY)2 =  4.4 m2 and

σM2  = (N / Δ)(σY)2 =  17.8 m2/sec2.  So, σM  =  4.22 m/sec

Consequently, the measured quantity of interest being the car’s speed, we should write it with a reasonable estimated uncertainty (converted into a standard error S = σ /√N):

Car’s Speed = 31 ± 2 m/s

We can conclude:

- that it is LIKELY that the true speed of the car is between 29 m/s and 33 m/s, and

- that it is UNLIKELY that the true speed of the car is much less than 29 m/s or much more than 33 m/s.

In this borderline case, where the difference is comparable to the uncertainty, a conservative or “driver-friendly approach” would be to conclude that the car’s true speed is at least close enough to the limit to be considered legal.  If, however, the measured value was instead found to be 35 ± 2 m/s, then a speeding ticket would be justified (since it is very unlikely that the car’s true speed was 29 m/s or less.

## LAB 1 ASSIGNMENT (100 pts)	Student_Name________________________

1.  INTRODUCTION: Draw a line between the matching concepts/statements (12 pts)

| High Accuracy | Large number of significant figures |
| --- | --- |
| High Precision | Subtle unavoidable variability |
| Illegitimate Error | Consistent error or deviation |
| Random Error | Estimated deviation from true value |
| Systematic Error | Measurement mistakes due to sloppiness |
| Uncertainty | Small estimated uncertainty or error |

2. UNCERTAINTY (15 pts)

Several weights are measured and reported with their estimated statistical uncertainties as:

A = 25 ± 3 Newtons

B = 30 ± 1 Newtons

Based on these values fill in the blanks and select the appropriate statements:

- There is a 95% probability that the true value of weight A is between __________ Newtons and ___________ Newtons.  There is a 32% probability that the true value of weight A is less than ____________ Newtons or more than ___________Newtons

- It is ________________that the true values of weights A and B are equal.

  - certain

  - very likely

  - very unlikely

  - impossible

3. SIGNIFICANT FIGURES, PERCENTAGE ERROR/DIFFERENCE  (18 pts)

- Give the number of significant figures for the following numbers:

  - 300 		__________

  - 20000.0	__________

  - 0.0000034	__________

  - 4.9 ( 103	__________

  - 0.123*13	__________

  - 0.123 + 13	__________

- A mass measurement is repeated twice resulting in a first value of 1.235 μg and a second value of 1.242 μg.  A third VERY ACCURATE and more reliable measurement (using a different mass scale) produces a value of 1.256 μg.

  - What is the percentage difference between the first and second values?_____________%

  - What is the percentage error between the first and third values?______________%

#### 4. MEAN VALUE, STANDARD DEVIATION, AND STANDARD ERROR (20 pts)

Using a meter-stick, carefully measure the length of the hallway in front of the lab room (say, the distance between the doorways at opposite ends of the hallway).  Record your measurements and complete the calculations listed below (including the units).

| Measurement | Distance Ai (m) | Ai-Ā (m) | (Ai-Ā)2 (m2) |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |

What is the MEAN distance Ā ?_________________  ________.

What is the RMS DEVIATION of the measurements?_____________  ______.

What is the STANDARD DEVIATION σA of the measured values?___________  _____.

What is the RESULT (the best estimate of the measured value) given as the

MEAN ± STANDARD ERROR? ____________  ±  __________  __________.

## 5. LINEAR REGRESSION (35 pts)

Here is a repeat of the example discussed in the section on data fitting (linear regression):

Suppose a car is moving with constant velocity down a road where the posted speed limit is 35 mph.  The car’s position is measured at five different times by a police officer who uses a radar speed detector.  A graph of the measured position vs. measured time explicitly shows the motion of the car.  In such a graph, the slope of a line fitted to the plotted data is our best estimate for the car’s true velocity.  In this case, N = 5 and the car positions are Yi and the measured times are Xi, as listed in the following table (with their estimated uncertainties):

| Measurement | Time (Xi) | σXi | Position (Yi) | σYi |
| --- | --- | --- | --- | --- |
| 1 | 0.700 sec | 0.001 sec | 110.0 m | 0.3 m |
| 2 | 0.800 sec | 0.001 sec | 112.2 m | 0.3 m |
| 3 | 0.900 sec | 0.001 sec | 113.6 m | 0.3 m |
| 4 | 1.000 sec | 0.001 sec | 115.6 m | 0.3 m |
| 5 | 1.100 sec | 0.001 sec | 117.0 m | 0.3 m |

To determine if the car is speeding or traveling at a legal speed (less than or equal to 35.00 miles per hour = 15.65 m/s), the device must calculate an estimated value and uncertainty for the car’s speed.  Clearly, the dominant uncertainties are for the Y (position) values, so the linear regression method described previously will be sufficient.

Using these measured values and the formulae given previously we can obtain values (recorded with extra digits – to avoid subsequent round-off errors):

Sx = _______________  __________

Sy = _______________  __________

Sxx = _______________  __________

Syy = _______________  __________

Sxy = _______________  __________

Δ = _______________  __________

So, by linear regression, the best values for the slope M and intercept B are:

B = (SxxSy - SxSxy) / Δ = _______________  __________

M = (NSxy – SxSy) / Δ = _______________  __________

with squared uncertainties:

σB2  =  (Sxx / Δ)(σY)2 =  _______________  __________

σM2  = (N / Δ)(σY)2 =  _______________  __________

Since the measured quantity of interest is the car’s speed, we should write it with a reasonable estimated statistical uncertainty (using its standard error):

Car’s Speed = _______________  __________

Is it LIKELY or UNLIKELY that the car was speeding?  ________________________

In one or two complete sentences, support the above answer by comparing the estimated uncertainty with the difference between the estimated speed and the posted speed limit.

________________________________________________________________________________________________________________________________________________________________________________________________________________________

# Text boxes

# LAB 1: Measurement Accuracy & Error